Print on Orange Stock

| UI PERMIT - REQUIRED CONFINED SPACE ENTRY CHECKLIST |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Location I.D. # _________________ Description of Space____________________________________________________________________________________________ Department Responsible If entry into a permit space is not made during time specified, a new permit must be completed prior to entry. ## Description of Work to be Performed________________________________________________ Authorized Duration of Permit From: To: (Date/Time) (Date/Time) |  |  |  |  |  |
| ACTUAL OR POTENTIAL (A/P) HAZARDS IN CONFINED SPACE |  |  |  |  |  |
| N/A |  | A/P |  | N/A=Not Applicable A/P=Actual/Potential |  |
| ( ) ( ) Oxygen deficiency ( ) ( ) Flammable gases or vapors ( ) ( ) Toxic gases or vapors exceeding Permissible Exposure Limit (PEL) (Note: In addition to gases or vapors already present, use of solvents, paints, caulks or similar materials can have an adverse effect on the atmosphere inside the confined space.) ( ) ( ) Mechanical ( ) ( ) Electrical ( ) ( ) Engulfment ( ) ( ) Materials harmful to skin ( ) ( ) Configuration of space could trap entrant ( ) ( ) Heavy/awkward/pressurized entry covers ( ) ( ) Slick or obstructed working surfaces ( ) ( ) Noise ( ) ( ) Heat/cold ( ) ( ) Falling ( ) ( ) Asbestos ( ) ( ) Lead ( ) ( ) Radioactive residues ( ) ( ) Others: Specify _____________________________________________________________________________ |  |  |  |  |  |
| PREPARATIONS |  |  |  |  |  |
| N/A | ### REQ |  | #### COM |  | N/A=Not Applicable REQ=Required COM=Completed |
| ( ) ( ) ( ) Obtain & review appropriate Material Safety Data Sheets (MSDS=s) (NOTE: Attach copies of MSDS=s to checklist/permit) ( ) ( ) ( ) Arrange for qualified Attendant(s) and Entrants(s) ( ) ( ) ( ) Employees involved informed of specific confined space hazards ( ) ( ) ( ) Employees involved reviewed procedures outlined on checklist/permit ( ) ( ) ( ) Employees involved trained & fitted to use respirators if required for safe entry ( ) ( ) ( ) Notify affected departments of service interruption; Specify___________________________________________ ( ) ( ) ( ) Notify contractors involved/affected; Specify ______________________________________________________ ( ) ( ) ( ) Staging area for materials/equipment determined. ( ) ( ) ( ) Cordon off area around confined space ( ) ( ) ( ) Transportation available/unobstructed for emergencies ( ) ( ) ( ) Isolate pipes by blanking, double-valve & bleeding, or* lock-out/tag-out *(Attached separate lockout/ ( ) ( ) ( ) Lock-out/Tag-out all energy sources to zero energy state tagout checklist if required) ( ) ( ) ( ) If covers/hatches must be removed, make sure it is safe before removing ( ) ( ) ( ) Exits/entries into confined space are open/unobstructed ( ) ( ) ( ) Drain, clean, wash and/or purge (If purging is required, specify minimum time ___________) ( ) ( ) ( ) Atmospheric test in compliance ( ) ( ) ( ) Ventilation as required to provide fresh air; Specify _________________________________________________ ( ) ( ) ( ) Radios checked for proper operation immediately before entry ( ) ( ) ( ) Hot work checklist completed and attached to confined space checklist/permit if required ( ) ( ) ( ) Copy of completed permit posted near confined space entry points ( ) ( ) ( ) Other: Specify ______________________________________________________________________________ |  |  |  |  |  |

| EQUIPMENT REQUIRED FOR SAFE ENTRY |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| N/A | ### REQ | #### COM |  | N/A=Not Applicable REQ=Required COM=Completed |  |  |  |  |  |  |
| ( ) ( ) ( ) Air monitor (calibrated) ( ) ( ) ( ) Lifeline and safety harness or wristlets ( ) ( ) ( ) Tripod/retraction equipment ( ) ( ) ( ) Communication Equipment: Specify ____________________________________________________________ ( ) ( ) ( ) Respirator equipped with appropriate filters: Specify ________________________________________________ ( ) ( ) ( ) SCBA (Self-Contained Breathing Apparatus)(If SCBA is required during entry, back-up unit and trained personnel must also be provided.) ( ) ( ) ( ) Ladder or other approved means for gaining safe entry ( ) ( ) ( ) Protective clothing ( ) ( ) ( ) Hard hat ( ) ( ) ( ) Gloves ( ) ( ) ( ) Safety glasses ( ) ( ) ( ) Appropriate footwear ( ) ( ) ( ) Hearing protection ( ) ( ) ( ) First-aid kit readily accessible ( ) ( ) ( ) Fire extinguisher ( ) ( ) ( ) Fall protection ( ) ( ) ( ) Other: Specify _____________________________________________________________________________ _____________________________________________________________________________ Electrical equipment/tools: ( ) ( ) ( ) Ground-fault interrupter protection ( ) ( ) ( ) Non-sparking ( ) ( ) ( ) Low voltage ( ) ( ) ( ) Other: Specify _____________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |
| ATMOSPHERIC TESTING |  |  |  |  |  |  |  |  |  |  |
| N/A=Not Applicable REQ=Required COM=Completed |  |  |  |  |  |  |  |  |  |  |
| N/A REQ N/A REQ |  |  |  |  |  |  |  |  |  |  |
| ( ) ( ) Continuous Monitoring ( ) ( ) Periodic Monitoring |  |  |  |  |  |  |  |  |  |  |
| N/A REQ COM Allowable Limits Time: __________ ___________ __________ __________ |  |  |  |  |  |  |  |  |  |  |
| ( ) | ( ) | ( ) |  | Oxygen Level | 19.5%-23.5% |  | % | % | % | % |
| ( ) | ( ) | ( ) |  | Flammability | 10% LEL (CH4) |  | % | % | % | % |
| ( ) | ( ) | ( ) |  | Hydrogen Sulfide | 10 PPM |  | ppm | ppm | ppm | ppm |
| ( ) | ( ) | ( ) |  | Carbon Monoxide | 35 PPM |  | ppm | ppm | ppm | ppm |
| ( ) | ( ) | ( ) |  | Toxic: Specify: _______________________ |  |  | ppm | ppm | ppm | ppm |
| ( ) | ( ) | ( ) |  | Temperature: (Ensure sufficient rest breaks are taken and fluids are available) |  |  | F | F | F | F |
| Name/Dept of Employee(s) Conducting Testing (Please Print)_______________________________________________________________ |  |  |  |  |  |  |  |  |  |  |
| # RESCUE PROCEDURES |  |  |  |  |  |  |  |  |  |  |
| N/A REQ COM N/A=Not Applicable REQ=Required COM=Completed ( ) ( ) ( ) Non-entry rescue equipment available on site: Specify________________________________________ ___________________________________________________________________________________ ( ) ( ) ( ) Method for summoning rescue personnel in an emergency: Specify______________________________ ___________________________________________________________________________________ ( ) ( ) ( ) Fire Department notified prior to entry |  |  |  |  |  |  |  |  |  |  |
| # AUTHORIZED PERSONNEL |  |  |  |  |  |  |  |  |  |  |
| (Note: Attendants, entrants, and entry supervisors must be trained in their duties as described in the University=s Confined Space Standard) ATTENDANT(S) Name/Dept ____________________________________________________________________________________ ______________________________________________________________________________________________________________ ### ENTRANT(S) Name/Dept (attendant must keep current tally of entrants in space) 1) ______________________________________ 2)_________________________________________ 3)_____________________________________ 4)_________________________ 5)_________________________________________ 6)_____________________________________ 7)_________________________ TIME ENTRY BEGAN TIME ENTRY ENDED |  |  |  |  |  |  |  |  |  |  |
| AUTHORIZATION TO PROCEED |  |  |  |  |  |  |  |  |  |  |
| I certify that all required precautions identified on this checklist/permit have been taken and authorize work to proceed as described. Attendants and entrants have been instructed to evacuate this space and to notify me immediately if any of these precautions cannot be maintained. ENTRY SUPERVISOR=S NAME DATE________ (Please Print) ENTRY SUPERVISOR=S SIGNATURE TIME_________ POST PERMIT NEAR ENTRY POINT PRIOR TO AND DURING ENTRY |  |  |  |  |  |  |  |  |  |  |
| PERMIT CLOSE-OUT PROCEDURES |  |  |  |  |  |  |  |  |  |  |
| N/A REQ COM N/A=Not Applicable REQ=Required COM=Completed ( ) ( ) ( ) Reverse isolation/lock-out procedures (refer to separate checklist if required) ( ) ( ) ( ) Secure entrance to confined space ( ) ( ) ( ) If Fire Department was notified prior to entry, re-notify that entry operations have been completed ( ) ( ) ( ) Debrief personnel involved in entry operations and note comments: ( ) ( ) ( ) Cancel and file permit for future reference ENTRY SUPERVISOR=S SIGNATURE DATE________ COMMENTS ____________________________________________________________________ _______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________ [SEND COPY TO EHS] [CAMPUS ZIP - 2030] |  |  |  |  |  |  |  |  |  |  |

Form Revised, June 6, 2005