Print on Green Stock

|  | UI PERMIT-SPACE RE-CLASSIFICATION CHECKLIST |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location I.D. __________ Description of Space If entry into a permit space is not made during time specified, a new permit must be completed prior to entry. Department Responsible Description of Work to be Performed Check List Is Valid From: To: (Date/Time) (Date/Time) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PREPARATIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | YES NO |  |  |  |  |  |  |  |  |
| 1. Have persons involved in entry operations received permit-space training? ( ) ( ) 2. Is an engulfment hazard present? ( ) ( ) If yes, what control measure is used to eliminate the hazard?_______________________________________ ______________________________________________________________________________________ 3. Is there an entrapment hazard? ( ) ( ) If yes, what steps have been taken to eliminate the hazard?________________________________________ ______________________________________________________________________________________ 4. Have all hazardous energy source (including chemical and physical hazards) been eliminated? Check isolating methods used to eliminate the hazard(s). If complex lockout/tagout procedures are required, attach appropriate lockout/tagout checklist.  Deenergize equipment  Locking out electrical circuits and related training provided  Tagging out electrical circuits and related training provided  Physically block machinery so it can not move  Blank and blinds  Double block and bleed  Locking and/or tagging valves  Disconnecting lines  Other procedures, be specific 5. Is it necessary to enter the permit space to determine if serious hazards have been eliminated? ( ) ( ) (If yes, full permit procedures for this space must be followed until elimination of hazards have been verified) 6. Have all persons who will enter the declassified space been instructed to immediately evacuate the space if a hazard is detected? ( ) ( ) (If no, instruct employees in this safety precaution measure and the need to prohibit re-entry back into the space as a non-permit space until the space has been re-evaluated by authorized and qualified personnel.) 7. Have all persons participating in entry operations into this space had the opportunity to review this safe entry ( ) ( ) certification form? (Post a copy of this certification form at all points of entry to which it applies) 8. Specify any personal protective equipment or additional precautions necessary to ensure the safety of entrant(s): __________________________________________________________________________________________ __________________________________________________________________________________________ __________________________________________________________________________________________ COMPLETE BACK PAGE |  |  |  |  |  |  |  |  |  |  |  |  |  |
| YES NO 9.a. Is air monitoring required? ( ) ( ) If yes, record results below 9.b. Is atmospheric testing equipment calibrated? ( ) ( ) Date of Calibration:_____________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ATMOSPHERIC TESTING |  |  |  |  |  |  |  |  |  |  |  |  |  |
| N/A=Not Applicable REQ=Required COM=Completed |  |  |  |  |  |  |  |  |  |  |  |  |  |
| N/A REQ N/A REQ |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ( ) ( ) Continuous Monitoring ( ) ( ) Periodic Monitoring |  |  |  |  |  |  |  |  |  |  |  |  |  |
| N/A REQ COM Allowable Limits Time: __________ ___________ __________ __________ |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ( ) |  | ( ) |  | ( ) |  |  | Oxygen Level | 19.5%-23.5% |  | % | % | % | % |
| ( ) |  | ( ) |  | ( ) |  |  | Flammability | 10% LEL (CH4) |  | % | % | % | % |
| ( ) |  | ( ) |  | ( ) |  |  | Hydrogen Sulfide | 10 PPM |  | ppm | ppm | ppm | ppm |
| ( ) |  | ( ) |  | ( ) |  |  | Carbon Monoxide | 35 PPM |  | ppm | ppm | ppm | ppm |
| ( ) |  | ( ) |  | ( ) |  |  | Toxic: Specify: _______________________ |  |  | ppm | ppm | ppm | ppm |
| ( ) |  | ( ) |  | ( ) |  |  | Temperature: (Ensure sufficient rest breaks are taken and fluids are available) |  |  | F | F | F | F |
| Name/Dept of Employee(s) Conducting Testing (Please Print)______________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | YES NO |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. Are any hazardous atmospheres present or potentially present? ( ) ( ) 11. Is continuous forced air ventilation needed to maintain acceptable levels? ( ) ( ) (NOTE: If hazardous atmospheres are present or forced-air ventilation is needed to control levels, reclassifying the space is not possible. It is necessary to ELIMINATE the atmospheric hazard to reclassify.) |  |  |  |  |  |  |  |  |  |  |  |  |  |

____________________________________________________					____________________________

Signature of Certifying Individual								Date

N/A=Not Applicable; REQ=Required; COM=Completed; A/P=Actual/Potential				Revised, May 12, 2010